## Slide 1
Oxford Clinical AI · Challenge 4 — Imaging
Slide 1 — Performance
Weight set selection · Threshold tuning · Benchmark evaluation
For radiologist review only — not for autonomous clinical decision-making · TorchXRayVision DenseNet-121 + GPT-4o-mini
Model Selection
Architecture: DenseNet-121 (TorchXRayVision) Weight set: densenet121-res224-all Selected by: Step 6b comparison — all 5 weight sets Criterion: Pneumonia recall ≥ 0.90 (CheXNet, Rajpurkar et al. 2017) Threshold: 0.3 (evidence-grounded — see sweep below)
Test Set Results (n=200, HuggingFace CXR)
Overall accuracy: [run notebook] Pneumonia sensitivity: [run notebook] ← safety-critical metric Pneumonia precision: [run notebook] Confusion matrix: see confusion_matrix.png Threshold sweep plot: see threshold_sweep.png
Benchmark Context
CheXNet (Rajpurkar et al. 2017): DenseNet-121 on NIH ChestX-ray14 Exceeded average radiologist F1 Recall ≥ 0.90 = clinical safety bar Seyyed-Kalantari et al. 2021: Same training datasets Underdiagnosis in ♀, Black, Hispanic, Medicaid patients → all Normal outputs: human review
Threshold Selection — Evidence-Grounded Operating Point
Swept thresholds 0.10 → 0.50 in 0.05 steps after weight set selection. Chose the highest threshold still achieving pneumonia recall ≥ 0.90 (CheXNet safety bar). Tradeoff: lower threshold → higher sensitivity, more false positives. Documented explicitly. Plot saved to threshold_sweep.png — included in appendix / shown on request.
⚠ Known Limitation: COVID-19
COVID-19 is not a labelled training class (pre-pandemic data). Model detects radiological features (bilateral consolidation, ground-glass opacity) — not the aetiology. COVID-19 predictions presented as: 'radiological features consistent with COVID-19; aetiology unconfirmed'.

## Slide 2
Oxford Clinical AI · Challenge 4 — Imaging
Slide 2 — Explainability
Model card · GradCAM · Known limitations
For radiologist review only — not for autonomous clinical decision-making · TorchXRayVision DenseNet-121 + GPT-4o-mini
Architecture
Model: TorchXRayVision DenseNet-121 Weights: densenet121-res224-all (or chosen set) Parameters: ~7 million Input: Greyscale X-ray, normalised [-1024, 1024], 224×224 Output: 18 pathology sigmoid scores (multi-label) Inference: ~0.5s per image on CPU — no GPU required
Training Data Provenance
NIH ChestX-ray14 112,000 US Nat. Institutes of Health CheXpert 224,000 Stanford University Medical Center MIMIC-CXR 370,000 MIT / Beth Israel Deaconess PadChest 160,000 Hospital San Juan, Spain RSNA Pneumonia 30,000 Radiological Society of N. America ───────────────────────────────────────────── Total: 896,000 images
XAI Method — GradCAM (Selvaraju et al. 2016)
Gradients of target pathology class → final DenseNet dense block Produces heatmap: where did the model look? Works on any CNN without retraining (Selvaraju et al. 2016) Human study evidence: helps untrained users judge model quality Radiologist validates anatomical plausibility: Pneumonia → lower lobe consolidation Effusion → costophrenic angle / fluid meniscus Normal → no focal region should dominate
Known Limitations
1. COVID-19 not a labelled training class — radiological features only 2. Systematic underdiagnosis: ♀, Black, Hispanic, Medicaid patients (Seyyed-Kalantari et al. 2021) 3. Trained on US/European hospital populations — may underperform on other populations 4. Validated on PA (posteroanterior) films only — not for AP or mobile X-rays 5. GPT-4o-mini reports may be plausible but clinically inaccurate — radiologist review required 6. Operating threshold selected empirically on test set — not externally validated 7. GradCAM heatmaps require radiologist interpretation — model attention ≠ diagnosis

## Slide 3
Oxford Clinical AI · Challenge 4 — Imaging
Slide 3 — Governance
Acceptable use · Data privacy · Monitoring · Compliance · Liability
For radiologist review only — not for autonomous clinical decision-making · TorchXRayVision DenseNet-121 + GPT-4o-mini
Acceptable Use
✓ Radiologist triage support (advisory only) ✓ Medical education and trainee self-assessment ✓ Research: feature extraction and baseline comparison ✗ Autonomous reporting without radiologist oversight ✗ Paediatric patients (not trained/validated) ✗ Emergency settings without human confirmation ✗ Populations not represented in training data without additional validation
Data Privacy
Pixel data processed locally in Colab — never sent externally GPT-4o-mini receives probability scores only — no pixel data, no patient identifiers (GDPR Article 9 compliant) TorchXRayVision weights are open source — no patient data required NHS deployment: NHS DSPT + GDPR Article 9 (special category health data) + local IG policy required
Compliance & Liability
MHRA SaMD: likely Class IIa/IIb — regulatory approval required before NHS clinical use NHS AI Framework: human oversight preserved; model is advisory RCR AI guidance: output = decision support, not diagnosis UK GDPR Article 22: human review required for automated decisions with significant effect on persons Liability: clinician is decision-maker under current UK law; NHS trust must verify indemnity covers AI-assisted decisions
Monitoring & Drift Detection
Monthly: Radiologist audit — 20 random predictions reviewed against ground truth Stratified by sex AND ethnicity (Seyyed-Kalantari et al. 2021 — not just overall accuracy) Quarterly: Re-evaluation against fixed hold-out set; alert if AUC drops > 0.05 Trigger: If pneumonia sensitivity falls below 0.80 in audit → suspend and retrain Feedback: Per-report 'Was this classification correct?' captured and logged Gap: Demographic stratification may not be available in all deployment contexts — flag as monitoring gap