## Slide 1
Oxford Clinical AI · Challenge 4 — Imaging
Performance
Model Selection
Architecture
DenseNet-121 (TorchXRayVision)
Weight set
densenet121-res224-all
Criterion
Pneumonia recall ≥ 0.90
Threshold
0.3 (evidence-grounded)
First Live Runs)
Run 1
Abnormal uploaded chest X-ray
COVID-19 output (0.628 composite confidence)
Top signals: Lung Opacity 0.698 | Mass 0.661 | Pneumothorax 0.641
Run 2
Likely normal uploaded chest X-ray
COVID-19 output (0.630 composite confidence)
Top signals: Infiltration 0.630 | Pneumothorax 0.575 | Consolidation 0.574
Interpretation
Diffuse, weakly separated outputs; useful for limitations and governance, not a clean performance win
Benchmark Context
CheXNet (Rajpurkar 2017): DenseNet-121 on NIH ChestX-ray14
Exceeded average radiologist F1
Recall ≥ 0.90 = clinical safety bar
Underdiagnosis in ♀, Black, Hispanic, Medicaid patients (Seyyed-Kalantari 2021)
All Normal outputs require human review
Threshold Selection
Swept thresholds 0.10 → 0.50 in 0.05 steps
Chose highest threshold achieving recall ≥ 0.90
Tradeoff: lower threshold → higher sensitivity, more false positives
Documented explicitly; plot in appendix
⚠ Known Limitation: COVID-19
Not a labelled training class (pre-pandemic data)
Detects radiological features, not aetiology
Predictions presented as: “radiological features consistent with COVID-19; aetiology unconfirmed”
For radiologist review only — not for autonomous clinical decision-making · TorchXRayVision DenseNet-121 + GPT-4o-mini
Weight set selection | Threshold tuning | First live run summary

## Slide 2
Oxford Clinical AI · Challenge 4 — Imaging
Explainability
Model card · GradCAM · Known limitations
Architecture
TorchXRayVision DenseNet-121 · ~7M parameters
Input: greyscale X-ray, 224×224, normalised [–1024, 1024]
Output: 18 pathology sigmoid scores · ~0.5s on CPU
Training Data Provenance
NIH ChestX-ray14: 112K · CheXpert: 224K
MIMIC-CXR: 370K · PadChest: 160K
RSNA Pneumonia: 30K
Total: 896,000 images
XAI Method — GradCAM
Selvaraju et al. 2016
Gradients of target class → final dense block
Produces heatmap: where did the model look?
Works on any CNN without retraining
Radiologist validates:
  Pneumonia → lower lobe consolidation
  Effusion → costophrenic angle / meniscus
  Normal → no focal region should dominate
Known Limitations
COVID-19 not a labelled training class — radiological features only
Systematic underdiagnosis: ♀, Black, Hispanic, Medicaid patients (Seyyed-Kalantari 2021) **US ethnic groups??
Trained on US/European hospital populations — may underperform on other populations
Validated on PA films only — not for AP or mobile X-rays
GPT-4o-mini reports may be plausible but clinically inaccurate — radiologist review required
Operating threshold selected empirically on test set — not externally validated
GradCAM heatmaps require radiologist interpretation — model attention ≠ diagnosis
For radiologist review only — not for autonomous clinical decision-making · TorchXRayVision DenseNet-121 + GPT-4o-mini

## Slide 3
Oxford Clinical AI · Challenge 4 — Imaging
Governance
Acceptable use · Data privacy · Compliance · Monitoring
Acceptable Use
Radiologist triage support (advisory only)
Medical education and trainee self-assessment
Research: feature extraction and baseline comparison
Autonomous reporting without radiologist oversight
Paediatric patients (not trained/validated)
Emergency settings without human confirmation
Unrepresented populations without validation
Data Privacy
Pixel data processed locally — never sent externally
GPT-4o-mini receives scores only — no pixel data, no patient identifiers (GDPR Art. 9)
Open-source weights — no patient data required
NHS deployment: DSPT + GDPR Art. 9 + local IG policy required
Compliance & Liability
MHRA SaMD: likely Class IIa/IIb — approval required
NHS AI Framework: human oversight preserved
UK GDPR Art. 22: human review for automated decisions
Clinician is decision-maker; trust must verify indemnity
Monitoring & Drift Detection
Monthly: Radiologist audit — 20 random predictions vs ground truth, stratified by sex & ethnicity
Quarterly: Re-evaluation against fixed hold-out set; alert if AUC drops > 0.05
Trigger: If pneumonia sensitivity falls below 0.80 → suspend and retrain
Feedback: Per-report “Was this classification correct?” captured and logged
Gap: Demographic stratification may not be available in all deployment contexts
For radiologist review only — not for autonomous clinical decision-making · TorchXRayVision DenseNet-121 + GPT-4o-mini